DESIGN SUBMISSION REQUIREMENTS CHECKLIST

Our Ref:	    	  Your Ref:

The following design submission details must be provided to Northern Gas Networks Limited for validation prior to construction on site (with the exception of the Certification and Completion files).  This applies to all pipework and associated apparatus intended for adoption by Northern Gas Networks Limited.  Certification and Completion file documents must be provided in accordance with the relevant contract Terms and Conditions. For service disconnections only Items marked (D) are required.

|  |  |
| --- | --- |
| Designer |  |
| Name of Designer |  |
| Designer Competence1 |  |
| Site Plans |  |
| A location plan with site entrance (D) |  |
| Detailed Site Plan (D) |  |
| Pipe sizes/lengths identified (D) |  |
| Nodes marked and numbered on plan |  |
| Demand Details |  |
| Details of individual customer loads |  |
| Details of diversity assumptions |  |
| Nodes/Demand Assignment |  |
| Phasing of Demands |  |
| Pressures |  |
| Correct source pressure used |  |
| Correct design Min Pressure used |  |
| Pressure Drop |  |
| Design Program |  |
| The analysis program used for design 1 |  |
| Pipe Diameters 1 |  |
| Pipe Efficiencies 1 |  |
| Altitudes 1 |  |
| Gas Constants 1 |  |
| Gas Velocity |  |
| Materials |  |
| Specification of pipe & fittings 1 |  |
| Proposed jointing system 1 |  |
| Construction Requirements |  |
| Site Operative Competence2 |  |
| Construction Method Statements |  |
| Risk assessments 2 |  |
| Quality control of Materials 2 |  |
| Procedure for defective materials 2 |  |
| Site Investigation 2 |  |
| Excavation 2 |  |
| Working in vicinity of gas mains 2 |  |
| Procedure for damage and/or gas escapes 2 |  |
| Pipelaying 2 |  |
| Pipe jointing including Quality Control 2 |  |
| Pipe protection including corrosion control. 2 |  |
| Backfilling 2 |  |
| Reinstatement 2 |  |
| Calibration of testing machines 2 |  |
| Pressure testing 2 |  |
| Installation of PRI’s 2 |  |
| Details of IGE/GL/5 Procedure (D) |  |
| Details of Construction (Design and Management) Regulations 2007 (D) |  |
| Details of Environmental Study (D) |  |
| Quality Assurance |  |
| Are the following provided and acceptable |  |
| Company Policy on Quality i.e. ISO 9000 2 |  |
| Competency of persons responsible for QA2 |  |
| Audit Process 2 |  |
| Procedure for control of critical phases of construction 2 |  |
| Procedure for Auditing of Equipment 2 |  |
| Procedure for Material storage, quality and conformity checks 2 |  |
| Procedure for the control of deviations/variations from validated design 2 |  |
| Procedure for conformity of PRI’s and housing2 |  |
| Service Information |  |
| Pipe size of existing service (D) |  |
| Service routes |  |
| Termination position(s) (D) |  |
| Emergency Control Valve (D) |  |
| Position for Fire Valves |  |
| Positioning of services governors (D) |  |
| Meter Housing Ventilation Details |  |
| Standards Quoted 1 |  |
| Mains Information |  |
| Mains route |  |
| Risk Assessments 1 |  |
| Are special crossings involved |  |
| Have necessary Easement applications been made? (D) |  |
| Standards Quoted 1 |  |
| MP/IP Supplies (PRIs) |  |
| Capacity of Regulator/Governor |  |
| Velocity |  |
| Settings of safety Devices |  |
| Zone Classification |  |
| Housing |  |
| Corrosion protection |  |
| Standards Quoted 1 |  |
| Safety Requirements |  |
| Company Health & Safety Policy 2 |  |
| Management structure for dealing with technical & safety issues 2 |  |
| Roles & Responsibilities of Consultants or Contractors 2 |  |
| Procedure for working near to gas mains 2 |  |
| Procedure for actions to be taken in the event of a gas escape and/or damage 2 |  |
| Procedure for testing & purging 2 |  |
| Certification File |  |
| The following shall be provided |  |
| Materials Certification2 (D) (Exclusion only applies to <=2bar) |  |
| Easement Agreement or Form of consent (where required) |  |
| Planning Permission (excluding below ground pipes & where required) |  |
| NRSWA Opening Notices2 |  |
| Consumer Permission Letter2 |  |
| Certification of Transfer Rights (Excludes service disconnections) 2 |  |
| Quality control records2 |  |
| Variations (D) |  |
| Butt Fusion Printouts2 |  |
| Operatives Qualifications2 |  |
| Certification of Customer Works2 |  |
| Draft ‘as laid’ drawings (D) |  |
| GL5 Documents (if applicable) (D) |  |
| Completed test certificate (on site at time of connection only) |  |
| Meter Point Reference Number (MPRN) 2 |  |
| Completion File |  |
| The following should be provided |  |
| As Laid Drawings (D) |  |
| Correspondence File (where applicable) (D) |  |
| Valve Sketches and Records (where applicable) |  |
| Cathodic Protection (where applicable) |  |
| Materials guarantees/warranty (where applicable) (D) |  |
| NRSWA Closing Notices2 |  |
| Completed Test Certificate |  |
| Meter Point Reference Number (MPRN) (D) |  |
| DR8 Error report form (where applicable) (D) |  |
| CONNECTIONS AND/OR SERVICE DISCONNECTIONS BY UIP/GT ONLY |  |
| Organisations who wish to carry out the final connection to Northern Gas Networks Ltd’s Network must be accredited under the Gas Industry Registration Scheme (GIRS) for ‘Design and Construction/Commissioning/Connections (Routine)’ scopes and Connections (Non Routine) scopes where applicable. |  |
| Does the design include the Connection and/or Service Disconnection Design |  |
| <=63mm LP connection/disconnection installer notification incl with Certification (D) |  |
| Routine/Non-routine Operations |  |
| Method Statement for Connections and Disconnections (D) (Exclusion only applies to <=63mm LP) 2 |  |
| Routine Operational Procedure – connections under T/PR/SC05 (D) |  |
| Non Routine Operational Procedure – Connections under T/PR/SC04 (D) |  |